**20:10:36:71.  Termination.** The interconnection customer may terminate the interconnection at any time by giving the public utility 20 business days' written notice.

Upon termination of the interconnection, any small generator facility interconnection equipment must be disconnected from the public utility's EDS at the interconnection customer's expense. The termination of the interconnection does not relieve either party of its liabilities and obligations owed or continuing at the time of the termination.

**Source:** 35 SDR 305, effective July 1, 2009.

**General Authority:** SDCL 49-34A-27, 49-34A-93.

**Law Implemented:** SDCL 49-34A-27, 49-34A-93.