**44:02:06:09.  Lighting.** All rooms and areas used by guests and all other rooms or spaces in which lighting is essential to the efficiency and safety of the business operation must be well lighted. A minimum of 10 foot candles of nonglare light must be provided on all surfaces. Those areas used for reading, shaving, or application of cosmetics must be provided with a minimum of 30 foot candles of light.

 **Source:** 23 SDR 75, effective November 19, 1996; 34 SDR 321, effective June 30, 2008.

 **General Authority:** SDCL 34-1-17, 34-18-22.

 **Law Implemented:** SDCL 34-18-22, 34-18-24.