CHAPTER 74:04:12

**DRINKING WATER STANDARDS**

Section

74:04:12:01 Definitions.

74:04:12:02 Public water systems subject to provisions of this chapter.

74:04:12:03 Variances and exemptions.

74:04:12:04 General monitoring requirements.

74:04:12:05 Initial monitoring.

74:04:12:06 Reliably and consistently less than the maximum contaminant level.

74:04:12:07 Subpart B -- Maximum contaminant levels for chemicals.

74:04:12:08 Subpart C -- Monitoring and analytical requirements.

74:04:12:09 Monitoring and analytical requirements -- Certified laboratories.

74:04:12:10 Repealed.

74:04:12:11 Repealed.

74:04:12:12 Repealed.

74:04:12:13 IOCs -- Waivers for monitoring.

74:04:12:14 Asbestos -- Waivers for monitoring.

74:04:12:15 SOCs -- Waivers for monitoring.

74:04:12:16 VOCs -- Waivers for monitoring.

74:04:12:17 Subpart D -- Reporting and recordkeeping.

74:04:12:18 Reports and recordkeeping by the department.

74:04:12:19 Subpart E -- Special regulation monitoring requirements.

74:04:12:20 Subpart F -- Maximum contaminant level goals and maximum residual disinfection level goals.

74:04:12:21 Subpart G -- Maximum contaminant levels and maximum residual disinfectant levels.

74:04:12:22 Subpart H -- Filtration and disinfection.

74:04:12:23 Distribution system residual disinfectant concentration sampling plans for systems that also use groundwater.

74:04:12:24 Subpart I -- Control of lead and copper.

74:04:12:25 Control of lead and copper -- Designation of optimal corrosion control.

74:04:12:26 Subpart J - Use of non-centralized treatment devices.

74:04:12:27 Subpart K -- Treatment techniques for acrylamide and epichlorohydrin.

74:04:12:28 Subpart L -- Disinfectant residuals, disinfection byproducts, and disinfection byproduct precursors.

74:04:12:29 Approved use of DPD colorimetric test kit.

74:04:12:30 Subpart P -- Enhanced filtration and disinfection -- Systems serving 10,000 or more people.

74:04:12:31 Enhanced filtration and disinfection -- Composite correction program requirements.

74:04:12:32 Subpart Q -- Public notification of drinking water violation.

74:04:12:33 Public notification of drinking water violation -- Violation categories and other situations.

74:04:12:34 Public notification of drinking water violation -- Who must be notified -- Special circumstances.

74:04:12:35 Public notification of drinking water violation -- Tier 1 public notice -- Frequency.

74:04:12:36 Public notification of drinking water violation -- Tier 1 public notice -- Form and manner.

74:04:12:37 Public notification of drinking water violation -- Additional Tier 2 public notice categories.

74:04:12:38 Public notification of drinking water violation -- Public notification made by department.

74:04:12:39 Public notification of drinking water violation -- Reports and recordkeeping by department.

74:04:12:40 Subpart T -- Enhanced filtration and disinfection -- Systems serving fewer than 10,000 people.

74:04:12:41 Subpart O -- Consumer confidence reports.

74:04:12:42 Consumer confidence reports -- Governor's waiver.

74:04:12:43 Consumer confidence reports -- Reports available from department.

74:04:12:44 Consumer confidence reports -- Recordkeeping by department.

74:04:12:45 Consumer confidence reports -- Reporting of violations.

74:04:12:46 Subpart S -- Ground water rule.

74:04:12:47 Subpart U -- Initial distribution system evaluations.

74:04:12:48 Subpart V -- Stage 2 disinfection byproducts requirements.

74:04:12:49 Subpart W -- Enhanced treatment for *cryptosporidium*.

74:04:12:50 Subpart Y -- Revised total coliform rule.